## 450-8-3
S&C Fault Tamer Fuse Limiter | [9 empty] | S&C Fault Tamer Fuse Limiter
15-38 kV System Voltages (TCC 450-8-3) | [9 empty] | 15-38 kV System Voltages
Total Clearing Time-Current Characteristic Curves Dated March 19, 2007 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated March 19, 2007
Tolerance in Terms of Current: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance in Terms of Current: Curves are plotted to maximum test points. All variations are minus.
20 |  | 15 |  | 10 |  | 7 |  | 5 |  | 3
Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time
43.3755 | 300 | 34.0151 | 300 | 23.615 | 300 | 16.5077 | 300 | 11.8403 | 300 | 7.0883 | 300
43.4748 | 230.7993 | 33.9762 | 255.5292 | 23.6556 | 282.5855 | 16.4794 | 285.346 | 11.8878 | 236.2745 | 7.2192 | 257.7305
43.975 | 145.6512 | 34.0346 | 184.0299 | 23.7913 | 223.5254 | 16.536 | 224.6788 | 12.1282 | 167.1729 | 7.5659 | 198.0054
44.7617 | 92.6553 | 34.2298 | 118.1458 | 24.0375 | 162.7397 | 16.7454 | 156.6225 | 12.4658 | 129.8362 | 8.0434 | 153.6946
45.5625 | 63.6 | 34.6434 | 70.1735 | 24.5797 | 102.877 | 17.0255 | 117.1368 | 12.9528 | 101.7652 | 9.1272 | 100.6655
46.6703 | 42.4983 | 35.567 | 40.482 | 25.163 | 74.6866 | 17.6401 | 85.8697 | 14.1616 | 70.7375 | 9.979 | 79.8089
47.9693 | 27.9628 | 37.0623 | 25.6349 | 26.2209 | 48.4998 | 18.9042 | 60.7907 | 15.4303 | 51.619 | 11.3691 | 58.8412
49.3046 | 19.4927 | 38.9756 | 17.1295 | 27.4957 | 33.3672 | 20.2242 | 48.0031 | 17.182 | 38.3634 | 12.9158 | 44.794
51.5836 | 12.8404 | 43.5495 | 9.3861 | 29.0643 | 23.3801 | 22.0612 | 37.6893 | 19.3971 | 29.0383 | 15.5722 | 31.1543
54.0606 | 9.0332 | 48.2445 | 6.7405 | 29.9075 | 19.7169 | 24.5236 | 29.7272 | 23.4133 | 20.2309 | 17.9968 | 23.9485
56.3334 | 7.1822 | 51.5246 | 5.4989 | 30.7224 | 17.3266 | 28.0838 | 22.5916 | 27.9716 | 14.704 | 21.9604 | 17.1393
56.8838 | 6.7097 | 54.7138 | 4.5741 | 32.2345 | 14.3715 | 31.4155 | 18.3988 | 34.2886 | 10.5233 | 28.1642 | 11.5844
58.5676 | 5.6681 | 60.129 | 3.5323 | 33.9957 | 12.0163 | 35.7301 | 14.7715 | 39.4917 | 8.3909 | 34.0151 | 8.7937
61.7321 | 4.4047 | 65.4408 | 2.7956 | 36.1826 | 10.0183 | 39.832 | 12.3084 | 45.3026 | 6.818 | 39.5595 | 7.0479
63.3416 | 3.9422 | 73.4138 | 2.0813 | 38.842 | 8.3861 | 43.7993 | 10.5173 | 50.3016 | 5.8626 | 44.9927 | 5.866
67.7256 | 3.1165 | 82.2642 | 1.5817 | 41.3407 | 7.1781 | 50.4456 | 8.439 | 55.375 | 5.1166 | 54.7138 | 4.5741
73.1623 | 2.4385 | 92.5513 | 1.2041 | 44.9156 | 5.9131 | 56.1083 | 7.1986 | 61.6615 | 4.435 | 60.129 | 3.5323
80.7722 | 1.8133 | 102.1194 | 0.97672 | 48.1893 | 4.9838 | 56.8838 | 6.7097 | 63.3416 | 3.9422 | 65.4408 | 2.7956
96.1669 | 1.1522 | 119.8566 | 0.69582 | 53.3235 | 3.9557 | 58.5676 | 5.6681 | 67.7256 | 3.1165 | 73.4138 | 2.0813
115.0209 | 0.76598 | 128.9609 | 0.59866 | 58.7354 | 3.1759 | 61.7321 | 4.4047 | 73.1623 | 2.4385 | 82.2642 | 1.5817
119.8566 | 0.69582 | 152.3155 | 0.42479 | 65.9669 | 2.4623 | 63.3416 | 3.9422 | 80.7722 | 1.8133 | 92.5513 | 1.2041
128.9609 | 0.59866 | 186.3938 | 0.28255 | 76.2382 | 1.8102 | 67.7256 | 3.1165 | 96.1669 | 1.1522 | 102.1194 | 0.97672
152.3155 | 0.42479 | 238.0944 | 0.1774 | 83.068 | 1.5058 | 73.1623 | 2.4385 | 115.0209 | 0.76598 | 119.8566 | 0.69582
186.3938 | 0.28255 | 294.3797 | 0.11963 | 91.2373 | 1.2433 | 80.7722 | 1.8133 | 119.8566 | 0.69582 | 128.9609 | 0.59866
238.0944 | 0.1774 | 346.5003 | 0.090601 | 119.8566 | 0.69582 | 96.1669 | 1.1522 | 128.9609 | 0.59866 | 152.3155 | 0.42479
294.3797 | 0.11963 | 437.5757 | 0.062404 | 128.9609 | 0.59866 | 115.0209 | 0.76598 | 152.3155 | 0.42479 | 186.3938 | 0.28255
346.5003 | 0.090601 | 524.8635 | 0.047343 | 152.3155 | 0.42479 | 119.8566 | 0.69582 | 186.3938 | 0.28255 | 238.0944 | 0.1774
437.5757 | 0.062404 | 623.4715 | 0.037449 | 186.3938 | 0.28255 | 128.9609 | 0.59866 | 238.0944 | 0.1774 | 294.3797 | 0.11963
524.8635 | 0.047343 | 696.6383 | 0.03259 | 238.0944 | 0.1774 | 152.3155 | 0.42479 | 294.3797 | 0.11963 | 346.5003 | 0.090601
623.4715 | 0.037449 | 756.4458 | 0.029554 | 294.3797 | 0.11963 | 186.3938 | 0.28255 | 346.5003 | 0.090601 | 437.5757 | 0.062404
696.6383 | 0.03259 | 814.3709 | 0.027187 | 346.5003 | 0.090601 | 238.0944 | 0.1774 | 437.5757 | 0.062404 | 524.8635 | 0.047343
756.4458 | 0.029554 | 877.735 | 0.025153 | 437.5757 | 0.062404 | 294.3797 | 0.11963 | 524.8635 | 0.047343 | 623.4715 | 0.037449
814.3709 | 0.027187 | 909.4202 | 0.02418 | 524.8635 | 0.047343 | 346.5003 | 0.090601 | 623.4715 | 0.037449 | 696.6383 | 0.03259
877.735 | 0.025153 | 913.5911 | 0.022281 | 623.4715 | 0.037449 | 437.5757 | 0.062404 | 696.6383 | 0.03259 | 756.4458 | 0.029554
909.4202 | 0.02418 | 927.2789 | 0.018022 | 696.6383 | 0.03259 | 524.8635 | 0.047343 | 756.4458 | 0.029554 | 814.3709 | 0.027187
913.5911 | 0.022281 | 944.4074 | 0.013106 | 756.4458 | 0.029554 | 623.4715 | 0.037449 | 814.3709 | 0.027187 | 877.735 | 0.025153
927.2789 | 0.018022 | 956.9136 | 0.01 | 814.3709 | 0.027187 | 696.6383 | 0.03259 | 877.735 | 0.025153 | 909.4202 | 0.02418
944.4074 | 0.013106 |  |  | 877.735 | 0.025153 | 756.4458 | 0.029554 | 909.4202 | 0.02418 | 913.5911 | 0.022281
956.9136 | 0.01 |  |  | 909.4202 | 0.02418 | 814.3709 | 0.027187 | 913.5911 | 0.022281 | 927.2789 | 0.018022
|  |  |  | 913.5911 | 0.022281 | 877.735 | 0.025153 | 927.2789 | 0.018022 | 944.4074 | 0.013106
|  |  |  | 927.2789 | 0.018022 | 909.4202 | 0.02418 | 944.4074 | 0.013106 | 956.9136 | 0.01
|  |  |  | 944.4074 | 0.013106 | 913.5911 | 0.022281 | 956.9136 | 0.01
|  |  |  | 956.9136 | 0.01 | 927.2789 | 0.018022
[6 empty] | 944.4074 | 0.013106
[6 empty] | 956.9136 | 0.01